**Sl. No. Name of the Equipments Quantity**

1. Olympus monocular microscope 30
2. Olympus Binocular research microscope 1
3. Water Bath/ Tissue flowing 1
4. Electronic Weighing Machine (analytical balance) capacity 220 gm 1
5. Digital Spectrophotometer 1
6. Digital PH meter 1
7. Automatic Tissue processing machine 1
8. Distillation plant 1
9. Slide warming table 1
10. Rotary Microtome with steel knife 1
11. Hot plates/ Hot air oven (temperature range 50-300 degree Celsius) 1
12. Paraffin bath embedding 1
13. Spectroscope lens with adjustable slit 2
14. B.P. Apparatus 1
15. Hand centrifuge 1
16. Micro Slide Cabinet 1000 slide Capacity (HORIZONTAL) 1
17. Electrical Centrifuge Machine 1
18. EMI shaking machine 1
19. Photo Electric colorimeter with 8 filters (ERMA) and   
    spare parts filters, Bulbs & Tubes 1
20. Dead Body Weighing Scale 2
21. Height measuring steel rod with stand 3
22. Weighing machine dial type for living 2
23. Balance, single pair for weighing foetus 1
24. Viscera weighing machine / Organ Weighing Scale 2
25. Stainless steel Vernier calipers (50-division V.C. Gage   
    graduated in inch and millimeter - Direct reading) 1
26. Autopsy table 2
27. Electric Autopsy saw (120V, 60 Hz, 12 A) with accessories   
    Blades for section having

(i) 22 teeth, 8.66 cm x 0.64 mm with cut depth of 14.22mm,   
 (ii) 22 teeth, 8.66 cm x 0.64 mm with cut depth of 12.70mm and   
 (iii) 16 teeth, 6.30 cm x 0.64 mm with cut depth of 41.28 mm) for each saw   
 (a) With long cord 2

1. Stainless steel Brain knife 8
2. Autopsy dissection sets consisting of cartilage knife,   
   bone cutting forceps, scissors, knives with spare blades,   
   probe, metal scale graduated in cms. etc 8
3. Rib shears, right & left 4
4. Viscerotome with attachment for illumination (battery operated) 1
5. Six bodies Mortuary chamber & freezers 1
6. Clinical Examination Table MS tubular construction machine   
   pressed double bent MS sheet, approximate size   
   1830 mm(L) x 6110 mm(B) x 760 mm(H),   
   head section adjustable on ratchet 2
7. Chemical Thermometer for cadavers-DIMPLE Brand,   
   mercury 50 cm long and 0 to 50 degree centigrade 6
8. Electric sterilizer with accessories complete with immersion rod,   
   perforated instrument tray and plug and wire ‘INFOS’ size 16x6 inches 2
9. Dressing Drum S.S. size 8 x 6 inches 4
10. Autoclave Standard size 2
11. Halogen sun gun for photography. 1
12. Anthropometric set 1
13. X-ray view box (2 in 1) 3
14. Overhead projector with screen and trolley 1
15. Computer with printer 1 each

**B) Other accessories:**

1. Block holder 50
2. Plastic L-Moulds 16
3. Glass cutting pencil 1
4. Stopwatch 2
5. Leather strop 2
6. Carborundom stone 2
7. Spirit Lamp 5
8. Folding metal scale to measure up to 10 ft. 1
9. Steel tape roll 2
10. Hacksaw 4
11. Hand set heat sealer 1
12. B. P. Knife handle No.4 & 3 (SS) 6 each
13. Projector slides of different chapters of Forensic Medicine. 1 set
14. B. P. Blade No 23 & 24 ISI ‘SURGEON’ 2 Boxes   
     of 100 each
15. Skin cutting needle- straight, SS, 4 inches long 100
16. Rubber glove:   
     (a) No. 7½ Size 50 pairs  
     (b) No. 8 Size 50 pairs
17. Surgical Gloves:   
     (a) No.7 Size 800 pairs.  
     (b) No. 7½ Size 800 pairs.
18. Instrument Tray – Stainless Steel with cover, size 46 x 31.4 x 6 cm. 12
19. Water filter 1
20. Enamel painted Steel/GI Bucket of 10 to 15 liter capacity 12
21. Enamel painted Steel/GI Bucket of 10 to 15 liter capacity with lid 6
22. Disposable syringe (2 ml) 50
23. Swab with plastic tube (sterilized) 50
24. Sponge (4 x 5 x 8 inches) 24
25. Plastic mug (1 liter capacity) 12
26. Dust bin (plastic, without cover, about 10 liter capacity) 12
27. Dust bin (plastic, covered type, about 20 liter capacity) 12
28. Dust bin (plastic, without cover, about 30 liter capacity) 6